## 1. Introduction
Data Center Facility Budget Tool
Building a new data center is an extensive and expensive project, and thus it is important to determine an accurate budget. A useful budget should not only include the initial capital expenditures, but should extend out into the lifespan of the data center to reflect operating expenditures. This tool provides an example of a Greenfield data center build cost analysis based on a 1,000 square foot Tier 3 facility. It includes the cost per square foot, and a picture of ongoing operating expenses. Although, this example is based on a 1,000 square foot data center, it may be changed based on the information entered in the WHITE input cells. Enter in the information required in the WHITE spaces to calculate the estimated budget for the data center.
Info-Tech Research Group tools and template documents are provided for the free and unrestricted use of subscribers to Info-Tech Research
Group services. These documents are intended to supply general information only, not specific professional or personal advice, and are not
intended to be used as a substitute for any kind of professional advice. Use this document either in whole or in part as a basis and guide for
document creation. To customize this document with corporate marks and titles, simply replace the Info-Tech Information in the Header and
Footer fields of this document.

## 2. Facility Budget
Data Center Facility Budget Tool
Enter the organization's data into the WHITE cells below to estimate the facility budget for an 8 year period. Be sure to enter in the square footage of the facility to calculate the total cost per square foot.
Enter Facility Size (in Square Feet) | 1000
Total Cost per Square Foot | 585.927
Ongoing Operating Expenses
| Initial Investment (CapEx) | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Total Life-cycle Costs
Building Costs
Land Costs | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Lease | 12230 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 172230
Facilities site management fees | 0 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 28800
Janitorial and landscaping | 0 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 17600
Property Taxes | N/A - Included in Lease costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reimbursable expenses (leasehold improvement allowances, government incentives, etc.) | -6000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6000
Sub-total Building Costs | 6230 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 212630
Site Infrastructure Costs
Architectural and engineering fees | 27000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27000
Permits and Variances | 4440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4440
General Contractor fees | 30200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30200
General Construction costs | 67510 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67510
Access Floor System | 6210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6210
Wall, Floor and Ceiling finishes | 6570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6570
Fire detection, alarms, and EPO | 8123 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 21787
Fire suppression system - pre-action sprinkler, piping, inert gas installation, etc. | 35770 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 115894.8
Mechanical systems - non-critical electrical distribution(transformers, panels, lights, convenience plugs, etc.) | 22800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22800
Mechanical systems - critical electrical distribution (automatic transfer switch, maintenance bypass, PDU, etc.) | 66760 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 284192
Stand-by power - Generators | 75632 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 243632
Stand-by power - UPS | 52310 | 7500 | 0 | 14000 | 0 | 14000 | 0 | 14000 | 0 | 101810
Mechanical systems - heat rejection (Exchangers, Chillers, Towers, etc.) | 46472 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 98520
Mechanical systems - in room cooling (CRAC, Hot aisle containment, rack containment, etc.) | 45610 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 147770
Physical Security - Access control systems, monitoring, security guards, video surveillance | 12730 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 41242
Sub-total Site Infrastructure Costs | 508137 | 90242.6 | 82742.6 | 96742.6 | 82742.6 | 96742.6 | 82742.6 | 96742.6 | 82742.6 | 1219577.8
IT Infrastructure Costs
Point of Presence / Carrier Access | 28610 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 182210
Structured cabling - voice and data | 25980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25980
Racking costs | 10650 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10650
Furniture and cabinets | 6320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6320
Sub-total IT Infrastructure Costs | 71560 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 225160
Total Data Center Costs | 585927 | 135242.6 | 127742.6 | 141742.6 | 127742.6 | 141742.6 | 127742.6 | 141742.6 | 127742.6 | 1657367.8
Total Cost per sq. ft. | 585.927
Note on B16: Landlords often give an allowance for improvements on the facility.
Note on B36: Based on 12 months and redundancy for a T1 with MPLS network charges and CoS. (i.e. $800/Month *12*2)

## Hidden Calcs (hidden)
Facility Size (sq. ft) | 1000
Total cost per square ft | 585.927
Ongoing Operating Expenses
| Initial Investment (CapEx) | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Total Life-cycle Costs
Building Costs
Land Costs | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Lease | 12230 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 172230
Facilities site management fees | 0 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 3600 | 28800
Janitorial and landscaping | 0 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 17600
Property Taxes | N/A - Included in Lease costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reimbursable expensives (buildout, etc.) | -6000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6000
Sub-total Building Costs | 6230 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 212630
Site Infrastructure Costs
Architectural and engineering fees | 27000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27000
Permits and Variances | 4440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4440
General Contractor fees | 30200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30200
General Construction costs | 67510 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67510
Access Floor System | 6210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6210
Wall, Floor and Ceiling finshes | 6570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6570
Fire detection, alarms, and EPO | 8123 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 1708 | 21787
Fire surpression system - preaction sprinkler, piping, inert gas installation, etc. | 35770 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 10015.6 | 115894.8
Mechanical systems - non-critical electrical distribution(transformers, panels, lights, convience plugs, etc.) | 22800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22800
Mechanical systems - critical electical distribution (automatic transfer switch, maintenance bypass, PDU, etc.) | 66760 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 27179 | 284192
Stand-by power - Generators | 75632 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 243632
Stand-by power - UPS | 52310 | 7500 | 0 | 14000 | 0 | 14000 | 0 | 14000 | 0 | 101810
Mechanical systems - heat rejection (Exchangers, Chillers, Towers, etc.) | 46472 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 6506 | 98520
Mechanical systems - in room cooling (CRAC, Hot aisle containment, rack containment, etc.) | 45610 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 12770 | 147770
Physical Security - Access control systems, monitoring, security guards, video surveilance | 12730 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 3564 | 41242
Sub-total Site Infrastructure Costs | 508137 | 90242.6 | 82742.6 | 96742.6 | 82742.6 | 96742.6 | 82742.6 | 96742.6 | 82742.6 | 1219577.8
IT Infrastructure Costs
Point of Presence / Carrier Access | 28610 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 182210
Structured cabling - voice and data | 25980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25980
Racking costs | 10650 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10650
Furniture and cabinets | 6320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6320
Sub-total IT Infrastructure Costs | 71560 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 19200 | 225160
Total Data Center Costs | 585927 | 135242.6 | 127742.6 | 141742.6 | 127742.6 | 141742.6 | 127742.6 | 141742.6 | 127742.6 | 1657367.8
Total Cost per sq. ft. | 585.927
Note on A13: Landlords often give an allowance for improvements on the facility.